2012-01-30 at 15:11

Logged in as 9WGC8P1\Administrator

Instrument: Triple TOF 5600

Model #: 1032150/N

Serial #: AY21451105

Instrument Optimization Ver: 3.4172.40

Instrument performance before tuning...

TOF High Resolution

| Mass (Da) | Found At (Da) | Height (cps) | Area | Resolution | Error (ppm) |
| --- | --- | --- | --- | --- | --- |
| 146.1176 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 266.1598 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 315.1623 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 354.2122 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 442.2647 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 609.2807 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 618.3695 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 922.0098 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |

Product Ion High Resolution

| Mass (Da) | Found At (Da) | Height (cps) | Area | Resolution | Error (ppm) |
| --- | --- | --- | --- | --- | --- |
| 174.0913 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 195.0652 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 236.1281 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 365.1860 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 397.2122 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 448.1966 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 609.2807 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |

Product Ion High Sensitivity

| Mass (Da) | Found At (Da) | Height (cps) | Area | Resolution | Error (ppm) |
| --- | --- | --- | --- | --- | --- |
| 174.0913 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 195.0652 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 236.1281 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 365.1860 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 397.2122 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 448.1966 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 609.2807 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |

Tuning instrument...

TOF Detector optimization started

No signal detected, leaving CEM unchanged

Resolution optimization started

Original Values

RO2: 26.99

VS1: -0.19

HST: 0.00

FOR: 7.51

OFS: -34.34

MGV: -973.59

Adjusting ITC to: 100.0

Low Signal, re-acquiring data

Low Signal, re-acquiring data

Low Signal, re-acquiring data

Low Signal, re-acquiring data

Low Signal, re-acquiring data

Low Signal, re-acquiring data

Low Signal, re-acquiring data

Adjusting ITC to: 14.8

TOF Resolution optimization cancelled

AAO_AAOEventSampleChangeStatus

Acquisition was aborted.