2012-07-04 at 09:26

Logged in as 9WGC8P1\Administrator

Instrument: Triple TOF 5600

Model #: 1032150/N

Serial #: AY21451105

Instrument Optimization Ver: 3.4172.40

Instrument performance...

TOF High Resolution

| Mass (Da) | Found At (Da) | Height (cps) | Area | Resolution | Error (ppm) |
| --- | --- | --- | --- | --- | --- |
| 146.1176 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 266.1598 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 315.1623 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 354.2122 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 442.2647 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 609.2807 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 618.3695 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |

Product Ion High Resolution

| Mass (Da) | Found At (Da) | Height (cps) | Area | Resolution | Error (ppm) |
| --- | --- | --- | --- | --- | --- |
| 174.0913 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 195.0652 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 236.1281 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 365.1860 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 397.2122 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 448.1966 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 609.2807 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |

Product Ion High Sensitivity

| Mass (Da) | Found At (Da) | Height (cps) | Area | Resolution | Error (ppm) |
| --- | --- | --- | --- | --- | --- |
| 174.0913 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 195.0652 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 236.1281 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 365.1860 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 397.2122 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 448.1966 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 609.2807 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |

Enhance One Ion

| Mass (Da) | Mode | Height (cps) | Area |
| --- | --- | --- | --- |
| 365.1860 | Normal | 0.00E+00 | 0.00E+00 |
| 365.1860 | Enhanced | 0.00E+00 | 0.00E+00 |

Q1

No peak was found. Signal is too low.

GetPeakStats

| Mass (Da) | Found At (Da) | Height (cps) | Width | Error (Da) |
| --- | --- | --- | --- | --- |
| 146.12 | 0.00 | 0.00E+00 | 0.00 | 146.1 |

No peak was found. Signal is too low.

GetPeakStats

| 266.16 | 0.00 | 0.00E+00 | 0.00 | 266.2 |
| --- | --- | --- | --- | --- |

No peak was found. Signal is too low.

GetPeakStats

| 315.16 | 0.00 | 0.00E+00 | 0.00 | 315.2 |
| --- | --- | --- | --- | --- |

Calibration cancelled

AAO_AAOEventSampleChangeStatus

Acquisition was aborted.