2012-07-31 at 13:38

Logged in as 9WGC8P1\Administrator

Instrument: Triple TOF 5600

Model #: 1032150/N

Serial #: AY21451105

Instrument Optimization Ver: 3.4172.40

Instrument performance before tuning...

TOF High Resolution

AAO_AAOEventSampleChangeStatus

Acquisition was aborted.

Calibration cancelled