2012-09-26 at 12:53

Logged in as 9WGC8P1\Administrator

Instrument: Triple TOF 5600

Model #: 1032150/N

Serial #: AY21451105

Instrument Optimization Ver: 3.4172.40

Instrument performance before tuning...

TOF High Resolution

| Mass (Da) | Found At (Da) | Height (cps) | Area | Resolution | Error (ppm) |
| --- | --- | --- | --- | --- | --- |
| 146.1176 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 266.1598 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 315.1623 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 354.2122 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 442.2647 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 609.2807 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 618.3695 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 922.0098 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |

Product Ion High Resolution

| Mass (Da) | Found At (Da) | Height (cps) | Area | Resolution | Error (ppm) |
| --- | --- | --- | --- | --- | --- |
| 174.0913 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 195.0652 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 236.1281 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 365.1860 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 397.2122 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 448.1966 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 609.2807 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |

Product Ion High Sensitivity

| Mass (Da) | Found At (Da) | Height (cps) | Area | Resolution | Error (ppm) |
| --- | --- | --- | --- | --- | --- |
| 174.0913 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 195.0652 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 236.1281 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 365.1860 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 397.2122 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 448.1966 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |
| 609.2807 | 0.0000 | 0.00E+00 | 0.00E+00 | 0 000 | 1000000.0 |

Tuning instrument...

TOF Detector optimization started

No signal detected, leaving CEM unchanged

Resolution optimization started

Original Values

RO2: 26.82

VS1: -0.27

HST: 0.68

FOR: 7.41

OFS: -34.46

MGV: -973.28

Adjusting ITC to: 100.0

Low Signal, re-acquiring data

Low Signal, re-acquiring data

Low Signal, re-acquiring data

Low Signal, re-acquiring data

Low Signal, re-acquiring data

Low Signal, re-acquiring data

Low Signal, re-acquiring data

Low Signal, re-acquiring data

Low Signal, re-acquiring data

TOF Resolution optimization cancelled