2013-10-04 at 10:59

Logged in as 9WGC8P1\Administrator

Instrument: Triple TOF 5600

Model #: 1032150/N

Serial #: AY21451105

Instrument Optimization Ver: 3.4172.40

Instrument performance before tuning...

TOF High Resolution

| Mass (Da) | Found At (Da) | Height (cps) | Area | Resolution | Error (ppm) |
| --- | --- | --- | --- | --- | --- |
| 132.9049 | 132.9008 | 2.74E+03 | 1.77E+04 | 13 312 | 30.8 |
| 829.5393 | 829.5102 | 3.46E+03 | 4.94E+04 | 14 369 | 35.1 |

Tuning instrument...

TOF Detector optimization started

AAO_AAOEventSampleChangeStatus

Acquisition was aborted.

TOF Detector optimization cancelled