## Sheet1
Mouse Cecum Analysis
Date | 2013-08-02
Operator | Douglas Martins
Contact | dkm18@psu.edu
Experimental Setup:
100.4 mg of mouse cecum was derivatized according to Zheng et al., Metabolomics, 2013
Sample was analyzed using GCMS, method "SPLITSCFA1.M"
| Peak Area |  |  | Normalized Peak Area
Run* | propyl acetate | propyl propanoate | propyl butanoate | propyl acetate | propyl propanoate | propyl butanoate
_02 | 1082595 | 293460 | 738891 | 1.4652 | 0.27107 | 0.68252
_04 | 822145 | 194645 | 523448 | 1.5706 | 0.23675 | 0.63669
_06 | 781638 | 204133 | 535844 | 1.4587 | 0.26116 | 0.68554
_08 | 722936 | 195295 | 519799 | 1.3908 | 0.27014 | 0.71901
_10 | 882443 | 213140 | 529771 | 1.6657 | 0.24153 | 0.60035
_12 | 861807 | 214388 | 530839 | 1.6235 | 0.24877 | 0.61596
*Run numbers correspond to the filenames
Average | 858927.3333 | 219176.8333 | 563098.6667 | 1.5291 | 0.2549 | 0.65668
Stdev | 123619.3577 | 37351.934 | 86306.6826 | 0.10721 | 0.014687 | 0.046081
RSD | 14.3923 | 17.0419 | 15.3271 | 7.0111 | 5.7619 | 7.0172
Manual Integration
Normalized
| Propyl Acetate | Propyl Propanoate | Propyl Butanoate | Propyl Acetate | Propyl Propanoate | Propyl Butanoate
| 848326 | 2658611 | 7260059 | 0.11685 | 3.1339 | 8.5581
| 655205 | 1937176 | 5156014 | 0.12708 | 2.9566 | 7.8693
| 648606 | 1973125 | 5193029 | 0.1249 | 3.0421 | 8.0064
| 650106 | 1904447 | 5019872 | 0.12951 | 2.9294 | 7.7216
| 714725 | 2149789 | 5118142 | 0.13965 | 3.0079 | 7.161
| 712859 | 2023920 | 5181332 | 0.13758 | 2.8392 | 7.2684
AVERAGE | 704971.1667 | 2107844.6667 | 5488074.6667 | 0.12926 | 2.9849 | 7.7641
STDEV | 76644.4431 | 283123.3031 | 870333.2336 | 0.0084263 | 0.10113 | 0.51216
RSD | 10.872 | 13.4319 | 15.8586 | 6.5189 | 3.388 | 6.5964
If _02 is outlier
AVERAGE | 676300.2 | 1997691.4 | 5133677.8 | 0.13174 | 2.955 | 7.6054
STDEV | 34318.8119 | 95892.8558 | 69795.2626 | 0.0065223 | 0.078191 | 0.37252
RSD | 5.0745 | 4.8002 | 1.3596 | 4.9508 | 2.646 | 4.8981